## Site Survey
CAT Control Panel Retrofit Site Survey
Carter Machinery Co., Inc.
Location
Customer Name: | Site Name:
Address: | City:
State: | Zip Code:
Main Contact: | Telephone No.
Alt. Contact: | Telephone No.
Product Information
Package Serial No: | Generator Model:
Engine Serial No: | Kilowatts:
Engine Model: | KVA:
Open or Enclosed Genset: | Voltage:
Amps:
Existing Gen Controls Info:
Is Existing Control Panel present? | CIM Module Installed:
Control Panel Model: | CCM Module Installed:
CP Box Measurements W x H: | Local Ann. Installed:
CP Door Measure W x H: | Rem. Ann. Installed
Customer Comms Requirements: | Remote Ann. Qty:
Mag Pickup Installed (QTY): | Engine ECM Type:
Fuel Level Sensor Type: | Rem. E-Stop Installed:
Existing Voltage Regulator Info: Upgrade Voltage Regulator Info: | Recommended VR Upgrade Model:
Existing VR Model: | New Upgrade VR Model:
Existing VR Manufacturer: | New Upgrade VR Manufacturer:
Switchgear or Gen Mounted | Switchgear or Gen Mounted:
Self Excited, PMG or AREP:
SWGR/ATS Information (Only fill this section out if system parallels with utility or other gens)
Switchgear Manufacturer: | ATS Manufacturer
SWGR Closed/Open Transition | ATS Controller Type:
Does CP Communicate w/SWGR | ATS Qty:
***Please take pictures of the existing control panel inside/outside, wiring terminal strips, overall genset package, generator data tag and accessory modules as these retrofit kits are designed to integrate with the customers site specific equipment.***
Comments & Recommendations
Technician: | Date:

## Sheet3 (hidden)
Yes
No
N/A
CW
CCW
TDES | TDNE | TDEN | TDEC
S2 | S2 | S1 | S2